# ARE YOU INSPECTION READY?

Use this checklist as a tool to help prepare for an Institutional Animal Care & Use Committee (IACUC) inspection.

We suggest you have a point person that ensures your lab is ready for the inspection.

## RECORD KEEPING & RESOURCES

☐ Protocols and Standard Operating Procedures (SOPs) are current and available to review

☐ Anesthesia, medical records and room logs are available to review

☐ Emergency, weekend and holiday contact is posted and accessible

☐ Whistle-Blower/Animal Concern Poster is current and prominently posted

☐ Training records for staff are available for review

## GENERAL LABORATORY CARE

☐ Animal use areas are generally clean and well-organized

☐ Surfaces are clean and can be sanitized (no rust, unsealed wood etc.)

☐ Sanitizing solutions are appropriate for use and labeled

☐ Personal Protective Equipment (PPE) is available and appropriately used

☐ Human food and drink is kept out of animal use areas and laboratory refrigerators

☐ The lab area is organized and clutter free

## STORAGE

☐ Feed is in-date and any secondary containers are clearly labeled with contents and expiration date

☐ Feed is stored in closed containers that prevents contamination/spoilage

☐ Feed is stored off the floor on pallets or carts in a manner that aids sanitation.

☐ Hazardous and waste materials are properly contained and labeled.

☐ Surgical supplies are marked as sterilized/non-sterilized and segregated

## SAFETY & SECURITY

☐ Signage for any biological, chemical, radiation, or other present hazards is posted

☐ Security measures/controlled access are in place

☐ Gas cylinders are appropriately secured

☐ Hoods and anesthetic vaporizers have been certified and inspected within the last year

☐ Sharps containers are not overfull and used/discarded needles are not recapped

## ANIMAL HOUSING ROOMS

☐ Door signage is appropriate (species, hazards, required PPE, etc.)

☐ Emergency contact sheets are complete and accurate

☐ Husbandry records are complete and accurate

☐ Room temperature and humidity levels are recorded and controlled at appropriate levels

☐ Animal caging is clean, with appropriate food, water and enrichment

☐ Staff are aware of special husbandry needs/potential health effects of experiments

☐ Carcasses are disposed of properly

## DRUGS AND ANESTHESIA

☐ Controlled substances are locked in a substantially constructed cabinet

☐ Controlled substance use log is current and available to view

☐ Drugs and pharmaceuticals are current with labels indicating full drug name and expiration date

☐ Pharmaceutical grade drugs (United States Pharmacopeia [USP]) are being used unless non-USP drugs have been reviewed and approved by the IACUC

☐ Proper procedures are in place for identifying, segregating and disposing of expired drugs and medical supplies